## 시약
□ 시 약
번호 | 품명 | Catalog NO. | 단위 | 주문수량 | 제조회사 | 용도
1 | Sulfuric Acid(H2SO4) | 83010-0350, 1L | ea | 10 | Junsei | 산성 COD Mn
2 | Silver Sulfate(Ag2SO4) | 101242, 500g | ea | 15 | Kojima | 산성 COD Mn
3 | Potassium Permanganate (KMnO4) | 35186, 1L | ea | 10 | Sigma-Aldrich | 산성 COD Mn
4 | Sodium Oxalate (Na2C2O4) | 092725, 1L | ea | 5 | OCI | 산성 COD Mn
5 | Sekumaticⓡ FR |  | ea | 3 | ECOLAB | BOD 세척
6 | Sekumaticⓡ FNZ |  | ea | 3 | ECOLAB | BOD 세척
7 | HF25. MS(water Filtration Products) |  | ea | 2 | 3M | 3차 증류수 필터
8 | Phenol Standard | WC-PHEN-10X-1 | ea | 2 | Accustandard | 페놀 분석
9 | Cyanide Standard | WC-CN-10X-1 | ea | 1 | Accustandard | 시안 분석
10 | MBAS STD | WC-MBAS-R1-10X-1 | ea | 2 | Accustandard | ABS 분석
11 | Glycerol (C3H8O3) | 1.04093.1000 | ea | 30 | Merck | 페놀 분석
12 | 4-Aminoantipyrine (C11H13N3O) | A4382-25G | ea | 2 | Sigma-Aldrich | 페놀 분석
13 | BRIJ35 | 100mL | ea | 1 | (주)이앤씨테크놀로지 | 페놀 분석
14 | Chloramine-T Trihydrate | 1.02426.0250 | ea | 1 | Merck | 시안 분석
15 | Methylene Blue Hydrate | 66720-100G | ea | 1 | Sigma-Aldrich | ABS 분석
16 | YSI buffer solution | YSI3823 | ea | 10 | YSI | 수질현장측정
17 | sodium salicylate(HOC6H4COONa) | S3007 | ea | 1 | Merck | 암모니아성질소,R2
18 | dichloroisocyanuric acid sodium salt dihydrate(C3Cl2N3NaO3 · 2H2O) | 1.10888.0100 | ea | 1 | Merck | 암모니아성질소
19 | Dionex™ Chloride Standard (1000 mg/L), 100 mL | 037159 | ea | 1 | thermofisher | 암모니아성질소
20 | 아스코르빈산 |  | ea | 1 |  | 인산염 인, R3
21 | IC Multi Standard | 1703980500 | ea | 1 | Merck | 음이온 Mix STD(F, NO3-N, Cl, SO4)
22 | CLEANING SOLUTION | 3AS-RN00-30 | 4ea/pk | 5 | Alliance | 암모니아성질소,인산염인
23 | Perchlorate Standard | IC-PER-10X-1 | ea | 1 | AccuStandard | IC
24 | sodium dodecyl sulfate (CH3(CH2)11OSO3Na) | 62862 | ea | 2 | Sigma-Aldrich | 인산염인, R2
25 | PO4-P Standard, 0.1ppm | CM 9786 | ea | 3 | BLTEC | 인산염인 STD
26 | NH4+-N Standard, 0.4ppm | CM 9789 | ea | 3 | BLTEC | 암모니아 STD
27 | Fluoride standard(1000um/mL) | IC-F-10X-1 | ea | 3 | AccuStandard | 불소 STD
28 | chloride standard(1000um/mL) | IC-CL-10X-1 | ea | 3 | AccuStandard | 염소 STD
29 | EC-MUG 배지 | 222200 | ea | 1 | BD Difco | 분원성대장균군
30 | BBL Enterococcosel Agar | 212205 | ea | 1 | BD Difco | 분원성연쇄상구균
31 | Bismuth Sulfite Agar | 273300 | ea | 1 | BD Difco | 아황산환원 혐기성포자형성균
32 | Agar CASO | 1.05458.0500 | ea | 1 | MERCK | 살모넬라, 쉬겔라
33 | Hexane 5000 | 083-07911, 1L | ea | 5 | Wako | GC std 제조용
34 | Isopropyl Alcohol (2-Propanol) | 165-09161, 1L | ea | 3 | Wako | LC/MS std 제조용
35 | Ultrapure Water | 210-01303, 3L | ea | 4 | Wako | LC/MS 이동상
36 | Multi Standard | IV-ICPMS-71A | 125mL/ea | 1 | Inorganic Ventures | ICP-MS Standard
37 | Multi Standard (100ppb) | IV-28 | 125mL/ea | 2 | Inorganic Ventures | ICP Standard
38 | Calibration Solution | 6610030000 | 500mL/ea | 1 | Agilent | Tuning Solution
39 | Mercury (10ppm, Hg) | MSHG-10PPM | 125mL/ea | 1 | Inorganic Ventures | ICP Standard
40 | Gold (100ppm, Au) | MSAU-100PPM | 125mL/ea | 1 | Inorganic Ventures | ICP Standard
41 | Arsenic (1000ppm, As) | CGAS1-1 | 125mL/ea | 1 | Inorganic Ventures | ICP Standard
42 | Hydrochloric Acid (HCl) | 081-03475, 500ml | ea | 10 | Wako | 토양 전처리
43 | Perchloric Acid 70% | 23025-3301 | ea | 10 | Junsei | 토양 F (습식)
44 | Sodium Hydroxide (NaOH) | 1.06469.1000 | ea | 5 | Merck | Cr6+, F(전처리)
45 | Sodium Arsenite (NaAsO2) | S7400-100g | ea | 1 | Aldrich | 토양 F (습식)
46 | Ammonium Nitrate (NH4NO3) | 1.01188.0500 | ea | 2 | Merck | 강열감량
47 | Sodium Tetrahydroborate (NaBH4) | 39245.1201 | ea | 2 | Junsei | ICP-VGA
48 | M-endo agar les | 1.11277.0500 | ea | 1 | MERCK | 총대장균군
49 | M-FC-agar | 1.11278.0500 | ea | 1 | MERCK | 분원성대장균군
50 | Nutrient Agar-MUG | 223200 | ea | 1 | BD Difco | 대장균
51 | EC Blue 100P | 5591 | 100ea/pk | 2 | Nissui | 대장균군
52 | EC Blue-MPN Plate | 6517 | 18ea/pk | 5 | Nissui | 대장균군
53 | Difco Azide Dextrose Broth | 238710 | ea | 1 | BD Difco | 분원성연쇄상구균
54 | Reinforced Clostridial Medium | Ref. 218081 | ea | 1 | BD Difco | 아황산환원 혐기성포자형성균
55 | Ethyl alcohol anhydrous, 99.5% | 4022-4400 | ea | 8 | DEA JUNG | 알콜램프 충전
56 | C.C Petriflm | 6410 | 20ea/pk | 30 | 3M | 총대장균군
57 | Boric Acid | 1.00165.1000, 1kg | ea | 1 | Merck | TNTP
58 | Copper Sulfate Pentahydrate | 1.02790.1000, 1kg | ea | 1 | Merck | TNTP
59 | Hydrochloric Acid | 1.00344.1000, 1L | ea | 4 | Merck | TNTP
60 | Hydrogen Peroxide, 30% | 1.07209.1000, 1L | ea | 1 | Merck | TNTP
61 | Imidazole | 1.04716.1000, 1kg | ea | 2 | Merck | TNTP
62 | N Standard, 100mg/L (KNO3) | CM5978, 500mL | ea | 2 | BLTEC | TNTP
63 | P Standard, 5mg/L (NH4H2PO4) | CM9783, 500mL | ea | 2 | BLTEC | TNTP
64 | Potassium Peroxodisulfate | 1.05092.0250, 250g | ea | 1 | Merck | TNTP
65 | Sodium Dodecyl Sulfate(SDS) | 62862, 1kg | ea | 1 | Sigma | TNTP
66 | Sodium Hydroxide | 1.06469.1000, 1kg | ea | 1 | Merck | TNTP
67 | Sodium Sulfate | 1.06649.1000, 1kg | ea | 1 | Merck | TNTP
68 | Sulfanilamide | 1.11799.0100, 100g | ea | 2 | Merck | TNTP
69 | Sulfuric Acid | 1.00732.1000, 2.5L | ea | 4 | Merck | TNTP
70 | Na2[Fe(CN)5(NO)]·2H2O | 71778-25G | ea | 1 | Sigma | 암모니아성질소 분석
71 | Phenols(C6H5OH) | P1037-100G | ea | 1 | Sigma | 암모니아성질소 분석
72 | magnesium oxide(MgO) | 203718-25G | ea | 1 | Sigma | 전처리
73 | sodium thiosulfate( Na2S2O3 · 5H2O) | 217247-500G | ea | 1 | Sigma | 차아염소산 함유량 분석
74 | potassium iodide(KI) | 221945-100G | ea | 1 | Sigma | 차아염소산 함유량 분석
75 | sodium hypochlorite(NaClO) | 425044-250ML | ea | 1 | Sigma | 암모니아성질소 분석
76 | ammonium chloride(NH4Cl) | 213330-500G | ea | 1 | Sigma | 암모니아 표준액 제조
77 | potassium peroxodisulfate(K2S2O8) | 32375-23-100G | ea | 1 | Kanto | 총인 분석
78 | nitrophenol(C6H5NO3) | N7660-100ML | ea | 1 | Sigma | 총인 분석
79 | ammonium molybdate tetrahydrate((NH4)6Mo7O24․4H2O) | 431346-50G | ea | 1 | Sigma | 총인 분석
80 | potassium antimony tartrate( C8H4K2O12Sb2) | 244791-100G | ea | 1 | Sigma | 총인 분석
81 | Ammonium sulfamate(NH4OSO2NH2) | 228745-100G | ea | 1 | Sigma | 총인 분석
82 | L-ascorbic acid( C6H8O6) | A0278-100G | ea | 1 | Sigma | 총인 분석
83 | potassium phosphate( KH2PO4) | 795488-500G | ea | 1 | Sigma | 총인,인산염인 표준액 제조
84 | potassium nitrate(KNO3) | P8394-500G | ea | 1 | Sigma | 총질소 표준액 제조
85 | tin chloride(SnCl2․2H2O) | 206-06681 | ea | 1 | Wako | 인산염인 분석 (이염화주석법)
86 | Sodium dichloroisocyanurate dihydrate | 35915-250G | ea | 1 | Sigma
87 | Chloride ion standard solution, 1,000mg | 08126-23,100mL | ea | 1 | Kanto | 염소이온
88 | Perflouoro-n-[1,2-13C2]hexanoic acid | Wellington MPFHxA | 1.2ml | 2 | Wellington | 과불화합물분석
89 | Sodium perfluoro-1-hexane[18O2]sulfonate | Wellington MPFHxS | 1.2ml | 2 | Wellington | 과불화합물분석
90 | sodium perfluoro-1-[1,2,3,4-13C4]octanesulfonate | Wellington MPFOS | 1.2ml | 2 | Wellington | 과불화합물분석
91 | Perfluoro-n-[1,2,3,4-13C4]octanoin acid | Wellington MPFOA | 1.2ml | 2 | Wellington | 과불화합물분석