## Sheet1
2018년 3차 시약 및 실험 소모품 구매목록
# | 품명 | 규격 | 단위 | 수량 | 비 고
1 | MTL | PT47P-KR, PTEF Filter with support ring MTL filter | pk | 22 | PT47P-KR
2 | Quartz Filters | Prefired URG Filter 47mm, 10circle/pk | pk | 10 | (URG-2000-30UB)
3 | Cascade 여지 | Substrat Foil Imp 47mm PKg300 | pk | 1 | MSP Corporation, MRP No. 0100-96-0573A-X
4 | PM2.5 Air monitoring filters | Whatman, Filter46.2mm, PP Ring Supported For PM 2.5, 50/pk | pk | 6 | Cat. No. 7592-104
5 | 염산(HCl) | GR grade, 1kg | ea | 30 | DAEJUNG 4090-4100
6 | 투명 크린 바이알(9-102-3) | 40ml, 27 x 95mm, 72ea/pk | pk | 2 | Cat.No. V05-214-905
7 | 오픈 탑 캡용 셉타(septa for open-top cap) | PTFE/Silicone, Φ24mm, 100ea/pk | pk | 2 | Cat.No. V05-134-020
8 | HDPE 세구병 | Bottle, HDPE, 250ml, Ø60×h140mm, neck I.D. 22mm, 10/pk | pk | 3
9 | Ethyl alcohol | 99.5%=(HPLC), 1L, CAS.64-17-5 | ea | 1 | KANTO, Cat No.14033-1B
10 | Petri Dish | 55 x 12mm, 20개 x 50포 | box | 2 | 녹십자의료공업㈜
11 | cooking foil | 250mm × 30 Ho × 15µ , 삼화 cooking foil | ea | 6
12 | Parafilm M | w4" × L125fts, PH.13374.10 parafilm / wm.9910001 | ea | 5
13 | 과염소산(Perchloric acid) | GR grade, 70%, 500g, P0188 | ea | 3 | 삼전
14 | 피펫휠러 | H7023 | ea | 30 | 4science, Cat NO: 27-00100-01
15 | 차아염소산나트륨용액 10%(Sodium Hypochlorite solution) | 500g, 9~11%, CP, NaOCl | ea | 2 | DAEJUNG 7585-1405
16 | USP-standard AS-class Volumetric pipets | GL.123.461.06, 25ML, 5/pk | pk | 2
17 | 이소프로필알콜 (Isopropyl alcohol) | 4L, HPLC, (CH3)2CHOH | ea | 4
18 | Acetic acid | GR, 500g | ea | 2 | wako, 017-00256
19 | TO-14A 43Component MIX | RESTEK, Cat# 34432,Ser# AB-107237, 1ppm in nitrogen | ea | 1 | VOCs STD gas
20 | Petri Dish | 10ea/pk, 150 × 20mm | pk | 20 | SPL, crystal grade polystyrene sterilized
21 | PUF | 3 inch long(unwashed) poly-urethane vapor collection substrates 10 pcs, P/N TE-1010 | pk | 13
22 | Cellulose filter | Whatman 19.8mm, PN049458, 100/pk | pk | 8
23 | Dichloromethane/99.8%=(HPLC) | J.T.Baker, 9315-03, 4L | ea | 4
24 | Methylene chloride 300 (Dichloromethane)/99.5% | 1L , WAKO, 133-08841 | ea | 5
25 | Glass Cartridge w/Stainless Steel Screens | Tisch, TE-1009 | ea | 20
26 | Teflon End Cap with Silicone "O" Ring | Tisch, TE-1026 | ea | 40
27 | Field surrogate standards | Mix of 2 analytes, 100ug/Ml in Dichloromethane(D12-benzo(a)pyrene, D10-Fluroanthen), 1mL ,5/pk | pk | 1 | 보성과학, AccuStandard, S-71899-D
28 | Laboratory surrogate standards | Mix of 2 analytes, 100ug/mL in Hexane D10-Fluorene, D10-Pyrene), 1mL, 5/pk | pk | 1 | 보성과학, AccuStandard, S-14330-H
29 | EPA 610 PAHs Mix | 1x1ml, 100-2000ug/mL methanol:dichloromethane CRM48743, Supelco, 5/pk | pk | 2
30 | Vials and caps/septa | 2 mL amber screw top vials with write-on spot, blue screw caps, PTFE/silicone septa. 100 of each. Vial size: 12 x 32 mm (12 mm cap) | ea | 5 | Agilent ,5190-2280
31 | Impactor Oil filter | APM 37mm for PMS 103, 100/PK | pk | 8
32 | Ethanol(99.5) 300 | WAKO 056-04441, Ethyl Alcohol, 1L | ea | 2
33 | 절전 4구 멀티텝 | W3.64140.2, 내열, 난연성, 개별 Switch, 3m | ea | 3
34 | 친환경 칼라 정부화일 | 연두, A4 240매 용량, 10ea/pk | pk | 12