## Sheet1
2018년 2차 시약 및 실험 소모품 구매목록
# | 품명 | 규격 | 단위 | 수량 | 비 고
1 | ZefluorTM | Pall Corporation, P/N P5PJ047, 50/pk | pk | 18
2 | MTL | MTL Co., PT47PKR 47㎜, PTFE Ring Filter, 50circle/pk | pk | 22 | MTL Co., PT47PKR 47㎜, PTFE Ring Filter
3 | Quartz | Prefired URG Filter 47mm, 10circle/pk | pk | 40 | URG-2000-30UB
4 | PM2.5 Air monitoring filters | Whatman, Cat. No. 7592-104, Filter47mm, PP Ring Supported For PM 2.5, 100Circles/PK | pk | 5
5 | 염산(HCl) | GR grade, 1kg | ea | 60 | DAEJUNG 4090-4100
6 | 전기테스터기 | 태광, TK4002 | ea | 1
7 | Mercury standard solution, 1000ppm | JCSS, 100ml | ea | 1 | Cat.No. 25828-1B
8 | Sample Train set(Mercury) | glass funnel, glass anti-evaporation capillary, glass sample bottle | ea | 4 | 신한기술, SH-128
9 | HDPE 세구병 | Bottle, HDPE, 250ml, Ø60×h140mm, neck I.D. 22mm, 10/pk | pk | 3
10 | 실험복 | 블루색_의사가운_면혼방30수(사계절용), size 77, 이름자수 | ea | 1 | 블루색상, 이름자수포함
11 | 실험복 | 블루색_의사가운_면혼방30수(사계절용), size 105, 이름자수 | ea | 1 | 블루색상, 이름자수포함
12 | 실험복 | 민트색_의사가운_면혼방30수(사계절용), size 77, 이름자수 | ea | 1 | 민트색상, 이름자수포함
13 | 실험복 | 민트색_의사가운_면혼방30수(사계절용), size 105, 이름자수 | ea | 1 | 민트색상, 이름자수포함
14 | Latex Glove | Latex Glove Powder Free Large, Maxsafe | ea | 5
15 | Latex Glove | Latex Glove Powder Free Medium, Maxsafe | ea | 5
16 | Petri Dish | 55 x 12mm, 20개 x 50포 | box | 8 | 녹십자의료공업㈜
17 | Parafilm M | w4" × L125fts, PH.13374.10 parafilm / wm.9910001 | ea | 5
18 | 킴테크 와이퍼 | 사이언스 소형, 107×210, 60pk/box | box | 2
19 | 킴테크 와이퍼 | 사이언스 중형, 215×210, 30pk/box | box | 4
20 | 과염소산(Perchloric acid) | GR grade, 70%, 500g, P0188 | ea | 3 | 삼전
21 | 일회용 스펙트로 셀 | Standard Type, 2면 투명, 4.5mL, 100ea/pk | pk | 3
22 | 메스플라스크 | 1ml, 10ea/pk | pk | 1 | WI.3669000
23 | 메스플라스크 | 2ml, 10ea/pk | pk | 1 | WI.3669001
24 | Gas Chromatography Column | RTX-624 (60m, 0.25mm i.d., 1.4㎛) | ea | 1 | Restek, Cat# 10969, Serial# 720968
25 | Gas Chromatography Column | VARIAN, Cat# CP8917 | ea | 1 | VF-1ms (60m, 0.25mm i.d., 1.0㎛)
26 | syringe | 250 µL, fixed needle | ea | 5 | SGE, 006200
27 | syringe | 500 µL, fixed needle | ea | 3 | SGE, 007200
28 | Petri Dish | 10/sleeve, 150 × 20mm, 12ea/pk | pk | 18 | SPL, crystal grade polystyrene sterilized
29 | PUF | 3 inch long(unwashed) poly-urethane vapor collection substrates 10 pcs, P/N TE-1010 | pk | 12
30 | Laboratory surrogate standards | Mix of 2 analytes, 100ug/mL in Hexane D10-Fluorene, D10-Pyrene), 1mL, 5/pk | pk | 1 | 보성과학,AccuStandard,S-14330-H
31 | Acetone300 | Wako, Lot.NO.DSJ0287, 1L | ea | 15
32 | Hexane 300 | 1L | ea | 15 | Wako 084-04761
33 | Dichloromethane/99.8%=(HPLC) | J.T.Baker, 9315-03, 4L | ea | 8
34 | Vials and caps/septa | 2 mL amber screw top vials with write-on spot, blue screw caps, PTFE/silicone septa. 100 of each. Vial size: 12 x 32 mm (12 mm cap) | ea | 3 | Agilent ,5190-2280
35 | TO-14A 43Component MIX | RESTEK, Cat# 34432,Ser# AB-107237, 1ppm in nitrogen | ea | 1 | VOCs STD gas
36 | 초자자동세척건조기용 알칼리세척제 REMSGOLD 5 AL-P | Regomat 5 AL-P, Powder for machine cleaning, 10kg | ea | 1
37 | IC STD-SO4 | Accustandard, 100ppm, 100mL | ea | 2 | IC-SO4-1x-1
38 | IC STD-NO3 | Accustandard, 100ppm, 100mL | ea | 2 | IC-NO3-1x-1
39 | IC STD-Cl | Accustandard, 100ppm, 100mL | ea | 2 | IC-Cl-1x-1
40 | IC cation mix STD | Accustandard, 100ppm, 100mL | ea | 1 | IC-MCA-02-1
41 | IC-AS-AP vials | vials, 10mL polystyrene with caps and septa, package of 100, 55058 | pk | 14
42 | EGC-ll, MSA Cartridge | 74535 | ea | 1 | Dionex(Thermo scientific), 메이커확인서, 인증서
43 | EGC-ll, KOH Cartridge | 74532 | ea | 1 | Dionex(Thermo scientific), 메이커확인서, 인증서
44 | P.T.F.E. Thread Seal Tape | 0.1mm X 13mm X 15m | ea | 10
45 | 플라스틱 PE bottle | BT1521-250 250ml,이중뚜껑포함 | ea | 540
46 | 산성우 채수기 유리관 | Ф70x300 | ea | 3 | ㈜제이엠이엔비
47 | 나무핸들 어플리케이터 | L150×Ф2.2mm Handle, Ф5mm Single Cotton Tip, 100pcs/pk | pk | 5 | DH.SW01017
48 | Impactor filter | APM 37mm for PMS 103, 100/PK | pk | 4
49 | 사다리 | 텔레스텝 가정용 블루라인 안테나사다리 | ea | 1 | HPB-35
50 | 물티슈 | 깨끗한나라 물티슈 100매6입(캡) | ea | 10
51 | 물티슈 | 노브랜드 깨끗한 물티슈 100매 | ea | 40
52 | 우산 | YES 75폰지 자동장우산 | ea | 3
53 | LpDNPH Cartridges | LpDNPH S10, 50/pk | pk | 3 | SUPELCO, 21014 (유효기간확인)
54 | carbonyl standard | 1mL, mix of 3 analytes (Acetaldehyde-2,4-DNPH 20㎍/mL, Acetone-2,4-DNPH 20㎍/mL, Formaldehyde-2,4-DNPH, 40㎍/mL), sp-964692414-1ml * 5ea/pk | pk | 1 | 영화과학, CHEM SERVICE
55 | Vials | 2mL(9mm, amber, Screw top vial, 12ⅹ32mm with cap & pre-slit PTFE/silicone septa), 100/pk | pk | 2
56 | Vials | 5mL(갈색 glass, 테프론라이너), 500ea/box | box | 1 | BT 1620-005
57 | cap & septa | open top cap(8-425), with PTFE/Silicone Septa, 100ea/Cs | Cs | 2 | WH.240602
58 | 디스펜서 | PTFE-cylinder, 2.5~25.0/0.5ml | ea | 1 | WI.5.370.804
59 | 국소배기필터 | TOGA clean system filter, TOGA-M01F | ea | 1 | TOGA clean system filter, TOGA-M01F
60 | 증류수 순환펌프 | Recirculation pump(19.0046) | ea | 1 | Thermer scientific, 메이커확인서, 인증서